## Slide 1
RENEWTWIN
AI-Powered Digital Twin for Predictive Management of Renewable Energy Assets
Energy Innovation Challenge 2026 | Track 4: Digital Asset Management MC²Plus × Oil India Ltd. × IIT Kharagpur

## Slide 2
PROBLEM STATEMENT
The Operational Problem in Renewable Plants
Massive Asset Scale & Distribution
• Modern solar plants span thousands of acres with 50,000+ PV modules.
• Manual physical inspections are slow, expensive, and logistically difficult.
• Defects occur silently due to thermal stress, micro-cracks, and environmental exposure.
Impact of Delayed Fault Detection
• Avoidable energy losses occur long before manual discovery.
• Unaddressed hot-spots lead to permanent module failure & fire hazards.
• Maintenance is reactive rather than predictive, driving up O&M costs.

## Slide 3
CURRENT LIMITATIONS
Why Existing Solutions Fall Short
Traditional SCADA
• Monitors aggregate plant output only.
• Lacks module-level granular insight.
• Cannot isolate root cause of degradation.
Periodic Drone Imagery
• Conducted only 1-2 times per year.
• Generates static imagery without live telemetry linkage.
• Leaves long blind spots between inspections.
Isolated ML Tools
• Perform single-image classification.
• No digital state persistence.
• Fails to prioritize tasks based on total energy impact.

## Slide 4
THE SOLUTION
RenewTwin: Continuous Intelligence via Digital Twins
Core Conceptual Shift
• TRADITIONAL: Periodic inspection -> Fault discovered -> Maintenance -> Energy loss already occurred.
• RENEWTWIN: Continuous telemetry + AI defect detection -> Digital Twin state persistence -> Asset Health Scoring -> Automated Priority Dispatch.
Key Platform Capabilities
• Renewable Asset Digital Twin Engine
• Computer Vision Surface Defect Detection (ResNet-18)
• Operational Telemetry Anomaly Detection (Isolation Forest)
• Explainable Asset Health Scoring & Priority Ranking

## Slide 5
SYSTEM ARCHITECTURE
End-to-End System Architecture
Multimodal Architecture Pipeline
• Data Ingestion: High-resolution visual imagery + Operational telemetry (Power, Temp, Irradiance).
• AI Analysis Layer: ResNet-18 (Defect Classifier) + Isolation Forest (Operational Anomaly Detector).
• Digital Twin Engine: Persistent digital representation tracking state, history, and physical parameters.
• Health & Priority Engine: 4-factor Asset Health Index (AHI) computation.
• Operator Interface: FastAPI Backend + Real-time React Industrial Monitoring Dashboard.

## Slide 6
AI & ML METHODOLOGY
Dual AI Engine: Vision + Telemetry
Visual Defect Detection (CNN)
• Model: Deep Transfer Learning with ResNet-18.
• Target Classes: Clean (None), Micro-Crack, Hotspot, Inactive/Cell Damage.
• Outputs: Multi-class defect probability & confidence score.
Telemetry Anomaly Detection
• Model: Isolation Forest (scikit-learn).
• Features: Power deviation ratio (actual/expected), Temperature elevation, Irradiance.
• Outputs: Unsupervised anomaly score (0.0 to 1.0).

## Slide 7
DIGITAL TWIN DESIGN
Intelligent Digital Twin Schema
Digital Twin Object Schema
• Identity & Location: asset_id (e.g. PV-A-014), asset_type, location (Array A/Row 17).
• Physical Metrics: rated_capacity_kw (400 kW), current_power_kw, expected_power_kw, temperature_c.
• AI Intelligence State: defect_class, defect_probability, anomaly_score.
• Health & Action: health_score (53.8), risk_level (AT RISK), maintenance_priority (#1), recommended_action.

## Slide 8
HEALTH & RISK SCORING
Prototype Asset Health Index (AHI)
Scoring Formula Breakdown
• AHI = 100 - Penalties
• Visual Defect Penalty: 40% Weight
• Operational Anomaly Penalty: 30% Weight
• Performance Deviation Penalty: 20% Weight
• Thermal Elevation Penalty: 10% Weight
Operational Risk Categories
• HEALTHY (90 - 100): Normal operation, routine monitoring.
• MONITOR (75 - 89): Minor deviation/soiling, schedule periodic check.
• AT RISK (50 - 74): Thermal anomaly / defect detected, prioritize inspection.
• CRITICAL (< 50): Severe failure imminent / heavy loss, immediate dispatch.

## Slide 9
MAINTENANCE ENGINE
Actionable Maintenance Prioritization
Impact-Driven Task Ranking
• Answers: 'Which specific panel requires field technician intervention right now?'
• Consolidates failure probability, estimated energy loss percentage, and thermal risk.
• Outputs dynamically ordered dispatch queue (#1 PV-A-014: Hotspot, 46.9% loss estimated).
• Eliminates wasted technician trips and focuses labor on maximum ROI repairs.

## Slide 10
PRODUCT DEMONSTRATION
Industrial Operator Dashboard MVP
Full-Stack Implementation
• Backend: Python FastAPI with SQLite aiosqlite database & RESTful routes.
• Frontend: React + Vite with dark-themed industrial aesthetic.
• Live Telemetry & Digital Twin inspector modal with real-time update.
Demo Flow Highlights
• 1. Plant KPI Overview (24 Active PV Assets).
• 2. Risk Distribution breakdown (13 Healthy, 5 Monitor, 6 At Risk).
• 3. Interactive Digital Twin drill-down on critical assets.
• 4. AI Inspection Upload simulation with live model feedback.

## Slide 11
SCALABILITY & ROADMAP
Future Roadmap & Technical Scalability
Multi-Asset Extension
• Expand digital twin schemas from Solar PV to Wind Turbines and Battery Storage (BESS).
• Edge Deployment: Lightweight ONNX/TensorRT inference on drone-mounted compute.
Industrial Enterprise Integration
• Time-Series DB: Migration from SQLite to InfluxDB / TimescaleDB.
• Enterprise Connectors: Automated work order generation for SAP / IBM Maximo EAM.

## Slide 12
CONCLUSION & IMPACT
RenewTwin: Transforming Renewable O&M
Key Takeaways & Value Delivered
• Predictive Management: From reactive repair to continuous AI asset health monitoring.
• Demonstrable MVP: Complete working backend, ML pipeline, digital twin engine, and React UI.
• Commercial Viability: Direct reduction in LCOE, O&M expenses, and avoidable power loss.
• GitHub Repository: https://github.com/bhaktictak/RenewTwin